
	DECLARATION OF PERFORMANCE
DOP                                                                                                                                                                                                         No.20130910.S235JRH

	Identification code of the product-type
	LUXURY VINYL FLOORING made of LUXURY VINYL in accordance with EN14041：2004.

	Identification of the construction product
	THICKNESS(1.2~5)mm

	Intended use of the construction product
	flooring

	Manufacturer
	MINGHE (LUTAI) TECHNOLOGY CO.,LTD.
No.65, Xinhua Road, Lutai Economic Development Zone, Ninghe County, Tianjin,China

	System of assessment and verification of

constancy of performance of the construction

product
	3+

	Testing Lab
	SGS-CSTC LTD.

	Declared Performance

Essential characteristics
Declared Performance

Harmonised technical

specification
Slip resistance
Class DS
EN14041：2004
Thermal Conductivity
0.092W/m.K
Electric Behavior
N/A
Reaction to fire classification
B fl－S1
EN 13501-1:2007+A1:2009
Residual indentation
0.058mm
EN 433:1994
The performance of the product is in conformity with the declared performance outlined above.

This Declaration of Performance in issued under the sole responsibility of the manufacturer identified above.

Signed on behalf of the manufacturer by:
                                                                   Date:














